## KEVLAR
Pos | Total Qty | Part No. | Manufacturer | Description | Indent. Nr. | Y.SERVER #1
1 | 1 | RL-03502 | MTE CORP. | LINE REACTOR, 35 Amps, 52.5Máx 0.8mH, 10/20HP-240/480VAC |  | 1
2 | 1 | 6EP1336-1SH01 | SIEMENS | POWER SUPPLY SITOP 3.9A, Vin: 230V, Vout: 24V/20 A, 1ph |  | 1
3 | 1 | 1336E-A010-AAEN-L7EHA2 | ALLEN-BRADLEY | IMPACT DRIVE, 33.7 A, 10 HP 7.5 kW, 200-240 VAC, 50/60 Hz |  | 1
4 | 1 | Y547 F1 (left) | MARATHON | 10HP BLACK MAX AC DUTY MOTOR, 480(230)V, 13.5(27)A, 1800rpm, F215TC |  | 1
5 | 1 | HS35 1024-NV | DYNAPAR | ENCODER, 1024 PPR, Shaft mount, 5-25 VDC, with connector | 7EN5 | 1
6 | 1 | PanelView 550 '2711-K5A8 | ALLEN-BRADLEY | OPERATOR TERMINAL 85-264V, 47-63Hz, RS-232/DH+ |  | 1
7 | 1 | 1746-P2 | ALLEN-BRADLEY | POWER SUPPLY 120/240VAC, In:70W, Out:5A/5V |  | 1
8 | 1 | 1747-L542 | ALLEN-BRADLEY | CPU SERIES SLC5/04 4096 Points, 35 Chassis, 0.9ms/scan |  | 1
9 | 1 | 1746-A7 | ALLEN-BRADLEY | I/O CHASSIS: 7 Slots |  | 1
10 | 1 | 1747-SCNR | ALLEN-BRADLEY | CONTROLNET Scaner |  | 1
11 | 1 | 1746-NIO4V | ALLEN-BRADLEY | ANALOG INPUT/OUTPUT S- 1746 2 In/2 Out, 0-10V, 14 bit, 55mA/5V |  | 1
12 | 2 | 1746-IB16 | ALLEN-BRADLEY | DIGITAL INPUT SERIES 1746 16 Points, 10-30VDC, 850mA/5V |  | 2
13 | 2 | 1746-OB16 | ALLEN-BRADLEY | DIGITAL OUTPUT SERIES 1746 16 Points, 10-60V, 170mA/5V |  | 2
14 | 1 | DL-400 | KESSEL TRONICS | MASTER TENSION SYSTEM | 8MTS1 | 1
15 | 4 | TNC-004 | KESSEL TRONICS | SLAVE BOARD TENSION SYSTEM | 9SB2 | 4
16 | 16 | EP-6 | SCAIME | LOAD CELL 6 Kg | 9LC11-16 | 16
17 | 16 | B35-24-1 | PLACID INDUSTRIES | POSITION BRAKE (ARAMID SERV.) | 9PB7-10 | 16
18 | 1 | 1202-C10 | ALLEN-BRADLEY | CONTROLNET-IMPACT AC DRIVE Communication cable (1m) |  | 1
19 | 1 | 1203-CN1 | ALLEN-BRADLEY | CONTROLNET-IMPACT AC DRIVE Communication module |  | 1
20 | 1 | 1786-TPS | ALLEN-BRADLEY | CONTROLNET Straight T-Tap |  | 1
21 | 1 | 2810913 | PHOENIX CONTACT | MULTISELECTION SIGNAL ISOLATOR 3 Way, in:V/I, out: V/I, 24Vdc. |  | 1